## Tools
Material list for tools
QUANTITY
BANABA OUTER ISLAND
ITEM | ITEM DESCRIPTIONS | BANABA RO UNIT STORAGE SHED | BANABA RO TEMPORARY SHED | TOTAL | UNITS
PART A: Tools
Power Tools
1 | Makita XGT 40V Max Brushless AWS* 185mm (7 1/4”) Circular Saw | 2 |  | 2 | No.
2 | Welding rod 2.5 mm @pkt | 2 |  | 2 | Package
3 | Metal drill bit (set 3mm to 15mm) | 1 |  | 1 | No.
4 | Wood drill bit (set 3mm to 15mm) | 1 |  | 1 | No.
5 | Mansory drill bit (3mm to 12mm) | 1 |  | 1 | No.
6 | Frost 5 Piece Holesaw Set | 1 |  | 1 | No.
7 | Standley cord less driil screw bit set (provisional sum) | 2 |  | 2 | No.
Hand Tools
8 | Spirit level 600 mm | 3 |  | 3 | No.
9 | GRUNT 100m Fluorescent Builders Line | 4 |  | 4 | No.
10 | Spear & Jackson 560mm Predator X Hardpoint Hand Saw | 2 |  | 2 | No.
11 | Cyclone 16T Nail Rake With Timber Handle | 3 |  | 3 | No.
12 | Hyde 254mm Pointing Trowel | 5 |  | 5 | No.
13 | Kango Steel Internal Corner Trowel | 1 |  | 1 | No.
14 | Dunlop Wooden Float | 3 |  | 3 | No.
15 | Dunlop Stainless Steel Finishing Trowel | 3 |  | 3 | No.
16 | Poly 38mm Putty Knife | 3 |  | 3 | No.
17 | multi-tin snip | 2 |  | 2 | No.
18 | Kincrome 27mm Combination Gear Spanner | 2 |  | 2 | No.
19 | Irwin 200mm Vise Grip Sheet Metal Locking Pliers | 1 |  | 1 | No.
20 | NWS 3 Piece Classic Plier Set | 1 |  | 1 | No.
21 | Trojan 4 Piece Wood Chisel Set | 1 |  | 1 | No.
22 | Stanley 16 Piece Cushion Grip Screwdriver Set | 1 |  | 1 | No.
23 | Irwin 6 Piece Speedbor Blue Groove Spade Bit Set | 1 |  | 1 | No.
24 | Sidchrome 11 Piece Metric Ratchet Ring Driver | 1 |  | 1 | No.
25 | Empty container for site shed (prov Sum) | 1 |  | 1 | No.

## Water Tanks Base and concrete
Material list for water tanks base material and concrete
QUANTITY
BANABA OUTER ISLAND
ITEM | ITEM DESCRIPTIONS | BANABA RO UNIT STORAGE SHED | BANABA RO TEMPORARY SHED | TOTAL | UNITS
PART B: Water Tanks Base Materials
1 | 75mm dia galvanised pipe. | 33 |  | 33 | No.
2 | 40kg bag of cement for small pad footing | 50 |  | 50 | Bag
3 | Aggregate gravel (40Kg) | 267 |  | 267 | Bag
4 | Sand (40 Kg) | 135 |  | 135 | Bag
5 | High strain wire 105m/roll | 2 |  | 2 | Roll
6 | Chain link 15m/roll,1.8m height | 5 |  | 5 | Roll
7 | 12mm dia reinforcing steel for anchors | 8 |  | 8 | Length
8 | Allow sum for double swing gate complete with fittings (3000x2100mm opening) | 1 |  | 1 | No.
9 | Allow sum double swing gate complete with fittings (3000X2100mm openning) | 1 |  | 1 | No.
PART C: Conrete Foundation Materials and con`
Concrete Works
1 | 40 kg cement portland for raised floor slab and bond beams | 105 | 20 | 125 | Bags
2 | 40 kg cement portland for mortor | 11 |  | 11 | Bags
3 | 40 kg cement portland for grout | 107 |  | 107 | Bags
4 | Approved aggregate (40Kg) | 543 | 60 | 603 | Bags
5 | Approved sand (40Kg) | 275 | 60 | 335 | Bags
6 | Polythene damp proof membrane (60m x 2m wide) | 2 |  | 2 | Roll
7 | Tie wire 30m | 2 |  | 2 | No
Bar Reinforcement
8 | 12mm dia reinforcing steel for bond beam(6m length) | 36 |  | 36 | Length
9 | 10mm dia reinforcing steel for starter bar (6m length) | 115 |  | 115 | Length
10 | 8mm dia reinforcing steel (6m length) | 37 |  | 37 | Length
11 | Epoxy resin glue with hardner 4Liters | 1 |  | 1 | Can
12 | Reinforcing mesh size:6mx2.4m wide (200x200x10) | 8 | 1 | 9 | Sheet
Blockwork
13 | 200mm thick block 8'' | 1115 | 40 | 1155 | No
14 | 100mm thick block | 25 |  | 25 | No
15 | Approved sand | 21 |  | 21 | Bags
16 | 200 DPC membrane @ 25m/roll | 45 |  | 45 | Meter

## Timber&Roofing
Material list for water tanks base material and concrete for Timber and roofing
QUANTITY
BANABA OUTER ISLAND
ITEM | ITEM DESCRIPTIONS | BANABA RO UNIT STORAGE SHED | BANABA RO TEMPORARY SHED | TOTAL | UNITS
PART A: Timbers & Hardware Materials
Structure Timbers
1 | Radiata pine 200x50mm in 6long for door & window frame | 12 |  | 12 | Length
2 | Radiata pine 200x25mm in 6m long (MG) for barge & fascia board, dressed | 6 | 3 | 9 | Length
3 | Radiata pine 150x45mm in 6m long for wall plate | 7 |  | 7 | Length
4 | Radiata pine 150x25mm in 6m long, dressed | 2 |  | 2 | Length
5 | Radiata pine 100x50mm in 6m long for pattern and truss members dressed | 65 | 23 | 88 | Length
6 | Radiata pine 75x50mm in 6 m long , dressed | 27 | 5 | 32 | Length
7 | Dakua Timber 4x2x6 meter length |  | 2 | 2 | Length
8 | Radiata pine 50x50mm in 6m long, dressed | 53 | 8 | 61 | Length
9 | 1200x2400x6mm plywood for ceiling lining | 15 |  | 15 | Length
10 | Metal angle diagonal bracing | 58 |  | 58 | Meter
Finishing Trim
11 | Radiata Pine 100x10mm in 6m long Strip batten |  | 25 | 25 | Length
Joinery - Doors and Windows
12 | 2750x1490x40mm External solid core door. | 4 |  | 4 | No.
13 | 2000x1000x40mm internal hollow core door with stainless steel |  | 2 | 2 | No.
14 | 100 x 75mm butt brass hinges with screws. |  | 6 | 6 | No.
15 | Rebated mortice lock complete with handles and keys. |  | 1 | 1 | No.
Hardware
16 | 100mm butt brass hinges with screws | 4 |  | 4 | Pair
17 | Rebated mortice lock complete with handles and keys | 2 |  | 2 | No.
18 | 150 barrel bolts with screws | 4 |  | 4 | No.
PART B: Roofing & Drainage Materials
Roofing Materials
1 | 19feet zincalume zinish roofing sheet | 34 |  | 34 | Sheet
2 | 0.55mm BMT colorbond ultra (in corrugated/custom orb) (10feet) |  | 20 | 20 | Sheet
3 | Sisalation double side 40x1.25m wide | 6 |  | 6 | Roll
4 | Sisalation alum. foil one side fix over purlin and lapped at 300mm wide |  | 1 | 1 | Roll
5 | Wire mesh |  | 1 | 1 | Roll
6 | 0.55 BMT Colorbond roof flashing |  | 5 | 5 | PIECES
7 | 0.55 BMT Clourbond eaves guttering with bracket as necessary |  | 2 | 2 | PIECES
8 | 8'' zincalume zinish ridge cap | 7 |  | 7 | PIECES
9 | 8'' zincalume Roof flashing 8' | 10 |  | 10 | PIECES
10 | Zincalume finish steel guttering, lysaght 125 quad 8'' | 11 |  | 11 | PIECES
11 | Gutter bracket | 42 |  | 42 | No.
12 | Outlet to gutter | 2 | 1 | 3 | No.
13 | Stop End Caps |  | 2 | 2 | No.
14 | 100mm diameter upvc downpipe including clips (in 6m long) | 3 | 6 | 9 | Length
15 | 100mm diameter bend | 6 | 3 | 9 | No.
16 | 100mm diameter Tee | 4 | 1 | 5 | No.
17 | 100mm end cap | 8 |  | 8 | No.
18 | Silicone | 5 | 1 | 6 | Tube
19 | Rivert(100 no / pkt) | 2 | 1 | 3 | Package
20 | Caulk or Silicon gun |  | 1 | 1 | No.
Drainage
21 | 100mm PVC Pipe | 53 |  | 53 | Length
22 | 100mm Elbow | 10 |  | 10 | No.
23 | Stainless Gothic Mesh 1200x2400mm | 5 |  | 5 | Sheet
PART C: Painting, Decorating & Security Materials
Ceiling
1 | Undercoat 4 litres | 2 |  | 2 | Tin
2 | Semi Gloss 4ltrs | 2 |  | 2 | Tin
3 | Acrylic Sealer 4ltrs | 1 |  | 1 | Tin
Unplastered Surfaces Wall (Exterior & Interior)
4 | Undercoat 4 litres | 8 |  | 8 | Tin
5 | Enamel 4 liters | 8 |  | 8 | Tin
6 | Acrylic Sealer 4ltrs | 8 |  | 8 | Tin
Allow Paint for Interior Timber Narrow Surfaces 0 - 300mm
7 | Paint Primer 4 ltrs (Pink) | 1 |  | 1 | Tin
8 | Undercoat 4 litres | 2 |  | 2 | Tin
9 | Semi Gloss 4ltrs | 2 |  | 2 | Tin
10 | Enamel 4 liters | 2 |  | 2 | Tin
Allow Paint for Exterior Timber Narrow Surfaces 0 - 300mm
11 | Undercoat 4 litres | 4 |  | 4 | Tin
12 | Semi Gloss 4ltrs | 8 |  | 8 | Tin
13 | Enamel 4 liters | 8 |  | 8 | Tin
14 | Paint Primer 4 ltrs (Pink) | 2 |  | 2 | Tin
15 | Roller with tray and sleeve | 3 |  | 3 | No.
16 | 4" Paint brush | 3 |  | 3 | No.
17 | 3" Paint brush | 3 |  | 3 | No.
18 | 2" Paint brush | 3 |  | 3 | No.
19 | Roller Skin | 4 |  | 4 | No.
20 | Masking tape | 3 |  | 3 | No.
21 | Sand paper | 1 |  | 1 | No.
22 | Polyfiller / wood putty 4 litre | 1 |  | 1 | No.
23 | Paint thinner 750ml | 4 |  | 4 | No.
Glazing
24 | 8'x4' Security wire meshing | 6 |  | 6 | No.
25 | Radiata pine 200x25mm in 6m long for window timber pattern | 3 |  | 3 | Length
26 | 24" x 6" (710 x 150mm) clear glass blade, thickness to match louver frame | 108 |  | 108 | No.
27 | Louver frame 9 blades | 12 |  | 12 | Pair
Lining
28 | Fibre Cement lining 8"x 4" x 6mm thick for ceiling, lining and gable end |  | 9 | 9 | Sheet
Nails, Screws, Bolt, etc ( to be fully galvanised)
29 | 4"galvanised nail | 26 |  | 26 | kg
30 | 3"galvanised nail | 8 |  | 8 | kg
31 | 2 1/2"galvanised nail | 5 |  | 5 | kg
32 | 2"galvanised nail flat head | 10 |  | 10 | kg
33 | 2 1/2"twisted roofing nail complete with washer | 12 |  | 12 | kg
34 | 1" Fibre Cement nail | 8 |  | 8 | kg
35 | Louvre wood screws | 288 |  | 288 | PIECES
36 | 110mmlongx12mm diameter bolt with nut & 2 washers @ 1.5mc-c | 30 |  | 30 | No.
37 | 175mmlong x 12mm diameter bolt with nut & 2 washers | 33 |  | 33 | No.
38 | 4" x 3.15mm bullet head galvanised nail @ 100pcs/pkt |  | 3 | 3 | Package
39 | 3" x 3.15mm bullet head galvanised nail @ 100pcs/pkt |  | 3 | 3 | Package
40 | 2" x 3.15mm bullet head galvanised nail @ 100pcs/pkt |  | 1 | 1 | Package
41 | 1" x 3.15mm clout galvanised nail @ 100pcs/pkt |  | 2 | 2 | Package
42 | M12 bolts |  | 12 | 12 | No.
43 | Hexagon roofing screws with EPDM washers |  | 389 | 389 | PIECES

## Appurtenances
Material list for Appurtenances
QUANTITY
BANABA OUTER ISLAND
ITEM | ITEM DESCRIPTIONS | Banaba RO Unit Storage Shed | SPARES | TOTAL | UNIT
Appurtenances - First Flush Devices and Leaf Eaters (Rain Head) - Refer to the Attached Rain Harvesting Handbook
1 | First Flush Device(300mm dia. Post/Wall) and kit, included but not limited to: | 2 | 4 | 6 | PIECES
a. Integrated ball and seat
b. Rapid Release Exit Funnel
c. Advance Release Valve
2 | Leaf Eater Advance (100mm or 4") | 2 | 4 | 6 | PIECES
3 | Mozzie Stoppa Easy-Clean (90mm or 3.5") | 2 | 4 | 6 | PIECES
4 | Vent Cowl Weatherproof (100mm or 4") | 2 | 4 | 6 | PIECES
5 | Tank Gauge | 2 | 4 | 6 | PIECES
6 | PVC Tank Overflow kit Extra High 90mm, 3.5" | 22 | 4 | 26 | PIECES
7 | Floating Out-take kit with 25-50mm reducer to connect to the inside of the 50mm tank connector | 2 | 4 | 6 | PIECES
8 | Maelstrom Filter (100mm), with wall fixing equipment for dry system | 2 | 4 | 6 | PIECES
9 | PVC Flap Valves Vent Screen (Male, 90mm or 3.5") | 6 | 3 | 9 | PIECES
10 | 1.2m length 300mm PVC pipe for the first flush diverters – quantity of 2 lengths | 2 |  | 2 | PIECES

## Electrical Materials
Material list for electrical materials
QUANTITY
BANABA OUTER ISLAND
| ITEM | ITEM DESCRIPTIONS | BANABA RO UNIT STORAGE SHED | TOTAL | UNITS
PART A: Electrical Materials
| 1 | Switchboard (36 poles/modules complete with Neutral & Earth links) | 1 | 1 | Set
| 2 | Circuit breaker (Three phase, 40A, 415V) | 1 | 1 | PIECES
| 3 | Circuit breaker (25A, 240V) | 3 | 3 | PIECES
| 4 | Circuit breaker (15A, 240V) | 3 | 3 | PIECES
| 5 | Circuit breaker (10A, 240V) | 3 | 3 | PIECES
| 6 | Circuit breaker (3A, 240V) | 3 | 3 | PIECES
| 7 | Earth rod & clamp (Copper earth rod with copper clamp) | 1 | 1 | Set
| 8 | Earth cable (10mm² earth cable) | 15 | 15 | Meter
| 9 | LED lights (18 watts, 4 fts LED light complete with fitting) | 9 | 9 | Set
| 10 | Light switch (Single light switch with mounting) | 6 | 6 | Set
| 11 | Power point (15A, 240V, Double outlet with mounting) | 8 | 8 | Set
| 12 | Junction box (Electrical junction box) | 10 | 10 | PIECES
| 13 | Cable (TPS flat (white) cable 2.5mm² ) | 100 | 100 | Meter
| 14 | Cable (TPS flat (whit) cable 1.5mm² ) | 100 | 100 | Meter
| 15 | Cable clip (2.5mm² cable clip) | 4 | 4 | Package
| 16 | Cable clip (1.5mm² cable clip) | 4 | 4 | Package
| 17 | Screw (1 inch screw) | 4 | 4 | Package
| 18 | Screw (2 inches screw) | 4 | 4 | Package
| 19 | Wall plug (Wall plug) | 10 | 10 | Package
| 20 | Connectors (Electric cable connectors) | 2 | 2 | PIECES
| 21 | Isulating tapes (Electrical insulating tape - black) | 6 | 6 | PIECES
| 22 | Isulating tapes (Electrical insulating tape - red) | 6 | 6 | PIECES
| 23 | Isulating tapes (Electrical insulating tape - green) | 6 | 6 | PIECES
| 24 | Site light (60 watts All in one solar light) | 4 | 4 | Set
| 25 | Galvanized pipe (50mm Galvanized pipe) | 4 | 4 | Lengths
| 26 | Conduit (Orange electrical conduit pipe 20mm) | 8 | 8 | Lengths
| 27 | Conduit (Orange electrical conduit pipe 15mm) | 8 | 8 | Lengths
| 28 | Saddle clip (20mm Saddle clip ) | 30 | 30 | PIECES
| 29 | Saddle clip (15mm Saddle clip) | 30 | 30 | PIECES
| 30 | Lithium Battery (LiFePO4, 48 V, 3.3 kWh, 64 Ah, 2RU) | 4 | 4 | PIECES
| 31 | Battery cabinet (Battery cabinet to suit 4 x LiFePO4 batteries complete with bus bar) | 2 | 2 | Set
| 32 | Jumper cable with lug (Battery jumper cable with lug to suit above cabinet and bus bar) | 2 | 2 | Set
|  | Proposed Generator Electrical Materials |  | 0
| 33 | 3 Phase Generator (3 Phase, 400 V, 50 Hz, 65 KVA, diesel fuel) | 1 | 1 | Unit
| 34 | 3 Phase electric cable (16mm², 4 cores plus Earth) | 40 | 40 | Meter
| 35 | 3 Phase electric cable (6mm², 4 cores plus Earth) | 80 | 80 | Meter
| 36 | 3 phase circuit breaker (3 phase circuit breaker, 5 Amps, 400 V) | 2 | 2 | PIECES
| 37 | 3 phase circuit breaker (3 phase circuitbreaker, 60 Amps, 400 V) | 1 | 1 | PIECES
| 38 | Undervoltage protector (3 phase adjustable voltage ampere protector - 60A) | 1 | 1 | Unit
| 39 | Switchboard (24 poles switchboard) | 1 | 1 | PIECES
| 40 | Extension Lead (Electrical extension reel with 4 power sockets outlets) | 1 | 1 | Reel
| 41 | LED lights (18 watts, 4 fts LED light complete with fitting) | 2 | 2 | PIECES
| 42 | Light switch (Single light switch with mounting) | 2 | 2 | PIECES
| 43 | Junction box (Electrcal junction box) | 4 | 4 | PIECES
| 44 | Conduit (Orange electrical conduit pipe 20mm) | 12 | 12 | Lengths
| 45 | Heat shrink tubes (16mm² heat shrink tube) | 10 | 10 | PIECES
| 46 | Rubber tape (Electrical waterproof rubber tape) | 6 | 6 | PIECES
PART B: Plumbing Materials
A: Sea to Sea Water Pump
| 1 | PVC / Poly Foot Valve (50 mm) | 1 | 1 | No.
| 2 | PVC Male Adaptor (50 mm) | 2 | 2 | No.
| 3 | PVC Union (50 mm) | 2 | 2 | No.
| 4 | PVC Elbow (50 mm) | 2 | 2 | No.
| 5 | PVC Pipe (50 mm) | 2 | 2 | Lengths
B: Seawater pump to Feeder Tank
| 6 | PVC Male Adaptor (50 mm) | 1 | 1 | No.
| 7 | PVC Elbow (50 mm) | 5 | 5 | No.
| 8 | PVC Union (50 mm) | 2 | 2 | No.
| 9 | PVC Pipe (50 mm) | 4 | 4 | Lengths
C: Feeder Tank by pass to RO
| 10 | PVC Male Adaptor (50 mm) | 90 | 90 | No.
| 11 | PVC Union (50 mm) | 56 | 56 | No.
| 12 | PVC Gate Valve (50 mm) | 45 | 45 | No.
| 13 | PVC Elbow (50 mm) | 16 | 16 | No.
| 14 | PVC Tee (50 mm) | 8 | 8 | No.
| 15 | PVC Pipe (50 mm) | 10 | 10 | Lengths
| 16 | PVC Reducing Coupling (50 x 25 mm) | 4 | 4 | No.
| 17 | PVC Reducing Coupling (50 x 20 mm) | 4 | 4 | No.
| 18 | PVC Reducing Coupling (50 x 15 mm) | 4 | 4 | No.
| 19 | PVC Pipe (25 mm) | 2 | 2 | Lengths
| 20 | PVC Pipe 20 mm) | 2 | 2 | Lengths
| 21 | PVC Pipe (15mm) | 2 | 2 | Lengths
| 22 | PVC Gate Valve (25mm) | 4 | 4 | No.
| 23 | PVC Male Adaptor (25mm) | 8 | 8 | No.
| 24 | PVC Gate Valve (20mm) | 4 | 4 | No.
| 25 | PVC Male Adaptor (20mm) | 8 | 8 | No.
| 26 | PVC Gate Valve (15mm) | 4 | 4 | No.
| 27 | PVC Male Adaptor (15mm) | 8 | 8 | No.
| 28 | PVC Elbow (25mm) | 6 | 6 | No.
| 29 | PVC Elbow (20mm) | 6 | 6 | No.
| 30 | PVC Elbow (15mm) | 6 | 6 | No.
Feeder Tank by pass to RO
| 31 | PVC Pipe (100 mm) | 8 | 8 | Lengths
| 32 | PVC Elbow (100 mm) | 6 | 6 | No.
| 33 | PVC Tee (100 mm) | 2 | 2 | No.
| 34 | PVC Union (100 mm) | 10 | 10 | No.
RO product to Product tank
| 35 | PVC Male Adaptor (25 mm) | 4 | 4 | No.
| 36 | PVC Reducing Coupling (25 x32 mm) | 4 | 4 | No.
| 37 | PVC Reducing Coupling (32 x 40 mm) | 4 | 4 | No.
| 38 | PVC Reducing Coupling (40 x 50 mm) | 4 | 4 | No.
| 39 | PVC Tee (25 mm) | 4 | 4 | No.
| 40 | PVC Pipe (25 mm) | 3 | 3 | Lengths
| 41 | PVC Union (25 mm) | 4 | 4 | No.
| 42 | PVC Elbow (25 mm) | 8 | 8 | No.
| 43 | PVC Pipe (32 mm) | 2 | 2 | Lengths
| 44 | PVC Pipe (40 mm) | 2 | 2 | Lengths
| 45 | PVC Pipe (50 mm) | 2 | 2 | Lengths
| 46 | PVC Male Adaptor (20 mm) | 4 | 4 | No.
| 47 | PVC REducing Coupling (20 x 25 mm) | 4 | 4 | No.
| 48 | PVC Pipe (25 mm) | 2 | 2 | Lengths
Product tank materials
| 49 | PVC Male Adaptor (50 mm) | 18 | 18 | No.
| 50 | PVC Gate Valve (50 mm) | 10 | 10 | No.
| 51 | PVC Pipe (50 mm) | 8 | 8 | Lengths
| 52 | PVC Union (50 mm) | 20 | 20 | No.
| 53 | PVC Elbow (50 mm) | 14 | 14 | No.
| 54 | PVC Tee (50 mm) | 8 | 8 | No.
Product tank Over flow
| 55 | PVC Elbow (100 mm) | 8 | 8 | No.
| 56 | PvC Pipe (100 mm) | 6 | 6 | Lengths
| 57 | PVC REducing Coupling (100 x 90 mm) | 8 | 8 | No.
| 58 | PVC Elbow (90 mm) | 8 | 8 | No.
| 59 | PVC Pipes (90mm) | 6 |  | Lengths
Distribution Product tank to Distribution pump
| 60 | PVC Male Adaptor (50 mm) | 2 | 2 | No.
| 61 | PVC Union (50 mm) | 3 | 3 | No.
| 62 | PVC Gate Valve (50 mm) | 1 | 1 | No.
| 63 | PVC Female Adaptor (50 mm) | 3 | 3 | No.
| 64 | PVC Pipe (50 mm) | 3 | 3 | Lengths
| 65 | PVC Elbow (50 mm) | 4 | 4 | No.
Distribution Pump to Truck - 50 mm
| 66 | PVC Male Adaptor (50 mm) | 2 | 2 | No.
| 67 | PVC Union (50 mm) | 2 | 2 | No.
| 68 | PVC Gate Valve (50 mm) | 1 | 1 | No.
| 69 | PVC Female Adaptor (50 mm) | 4 | 4 | No.
| 70 | PVC Pipe (50 mm) | 4 | 4 | Lengths
| 71 | PVC Elbow (50 mm) | 6 | 6 | No.
Product tanks to Taps
| 72 | PVC Flange Male Adaptor (25 mm) | 1 | 1 | No.
| 73 | PVC Male Adaptor (25 mm) | 4 | 4 | No.
| 74 | PVC Union (25 mm) | 2 | 2 | No.
| 75 | PVC Elbow (25 mm) | 4 | 4 | No.
| 76 | PVC Gate Valve (25 mm) | 2 | 2 | No.
| 77 | PVC Reducing Coupling (25 x 20 mm) | 4 | 4 | No.
| 78 | PVC Reducing Coupling (20 x 15 mm) | 4 | 4 | No.
| 79 | PVC Elbow (15 mm) | 6 | 6 | No.
| 80 | PVC Female Adaptor (15 mm) | 2 | 2 | No.
| 81 | Brass Taps (15 mm) | 2 | 2 | No.
| 82 | PVC Pipe (25 mm) | 1 | 1 | Lengths
| 83 | PVC Pipe (20 mm) | 1 | 1 | Lengths
| 84 | PVC Pipe (15 mm) | 1 | 1 | Lengths

## Additionl-construction Material
Additional materials list for construction of new building
QUANTITY
BANABA OUTER ISLAND
ITEM | ITEM DESCRIPTIONS | Size | Unit | Qty
Part A: Tools
1 | Grinder |  | nos | 1
2 | Power Drill w/ Cord |  | nos | 1
3 | Handsaw |  | nos | 3
4 | Steel pull float |  | nos | 1
5 | Metal cutting disk (for grinder) |  | nos | 30
6 | Mansory diamond blade (for grinder) |  | nos | 5
7 | Lead Wire (30m) |  | nos | 2
8 | Power Board |  | nos | 3
9 | Blade for Circular Saw |  | nos | 2
10 | safety boot |  | nos | 5
11 | safety vest |  | nos | 5
12 | safety glasses |  | nos | 5
13 | Helmet |  | nos | 5
14 | Petrol for Generator |  | drum | 4
15 | Circular Saw w/Cord | 16" | nos | 1
16 | Hand Hammer |  | nos | 3
17 | Sledge Hammer |  | nos | 3
18 | Bench Bar |  | nos | 2
19 | Cement Mixer | 110 Litres | nos | 2
20 | Tie Wire | 30m | roll | 1
21 | Demolisher (w/ drill feature) |  | nos | 1
Part B: Electrical Materials
22 | Switchboard (36 poles/modules complete with Neutral & Earth links) |  | nos | 1
23 | Circuit breaker (Three phase, 40A, 415V) |  | nos | 1
24 | Circuit breaker (25A, 240V) |  | nos | 1
25 | Circuit breaker (15A, 240V) |  | nos | 1
26 | Circuit breaker (10A, 240V) |  | nos | 1
27 | Circuit breaker (3A, 240V) |  | nos | 1
28 | Power point (15A, 240V, Double outlet with mounting) |  | nos | 1