## Sheet1
ANNEX II-A - RFP21-3452 - TECHNICAL LIST OF LABORATORY EQUIPMENT AND CONSUMABLES
NO | ITEM DESCRIPTIONS | CATALOGUE NUMBER / PRODUCT CODE | Brand Name and any other Relevant details e.g how many in 1 pckt | Estimated QTY per year | Waranty duration (if applicable) | Installation description (if applicable) | Training description (if applicable) | Maintenance description (if applicable)
Category 1- PCR PLASTIC WEAR
1 | Bio-Rad - Hard-Shell® 96-Well PCR Plates, low profile, thin wall, skirted, white/clear. Pack of 50 | HSP9601 | BIO-RAD, Pack of 50 Plates | 5
2 | Bio-Rad - Microseal 'B' PCR Plate Sealing Film, adhesive, optical. Pack of 100 | MSB1001 | BIO-RAD, Pack of 100 Seals | 3
3 | Bio-Rad - 0.2 ml 8-Tube PCR Strips without Caps, low profile, clear. Pack of 960 | TLS0801 | BIO-RAD, Pack of 960 Tubes | 3
4 | Bio-Rad - 0.2 ml Flat PCR Tube 8-Cap Strips, optical, ultraclear, Pack of 960 | TCS0803 | BIO-RAD, Pack of 960 Caps | 3
TUBES
5 | Avant - 1.7 ml Microcentrifuge Tubes Natural, 500 Tubes/Pack | 2925 | AVANT, Pack of 500 Tubes | 3
6 | Biologix - 1.5ml self standing vials assembled with clear cap, 500/Pack | 81-7154 | BIOLOGIX, Pack of 500 Tubes | 6
7 | Biologix - 2.0ml Microtube Self-Standing Tube, N/S, PP, 500 Tubes/pk | 81-0204 | BIOLOGIX, Pack of 500 Tubes | 4
PLASTIC RACKS
9 | Heathrow Scientific - 80-Well Microtube Rack, Assorted colors, Pack of 5 | HS29025G | HEATHROW SCIENTIFIC, Pack of 5 Racks | 2
10 | Heathrow Scientific - OneRack® Tube Rack Full POM 30mm 24-Place, Blue, 8/Pack | HS27515B | HEATHROW SCIENTIFIC, Pack of 8 Racks | 2
11 | Bio-Rad - 96-Place Racks with Covers for PCR Tubes and Plates, assorted colors. Pack of 5 | TRC0501 | BIO-RAD, Pack of 5 Racks | 3
Category 2 -TIPS and Pipettes
12 | mLINE manual Pipettor, 1-Ch, 0.5-10ul |  |  | 2
13 | mLINE manual Pipettor, 1-Ch, 10-100ul |  |  | 3
14 | mLINE manual Pipettor, 1-Ch, 20-200ul |  |  | 3
15 | mLINE manual Pipettor, 1-Ch, 100-1000ul |  |  | 2
16 | Heathrow Scientific - Pipette Stand 6-Place | HS20613C | HEATHROW SCIENTIFIC, EACH | 2
17 | Heathrow Scientific - Pipette Stand (small) 3-Place | HS206203 | HEATHROW SCIENTIFIC, EACH | 1
TIPS
18 | Neptune - 10 μl LongReach Barrier, Sterile, Low Binding 960 Tips/Pack; 5 Packs/Case |  |  | 4 Cases
19 | Neptune - 100 μl Barrier, Sterile, Low Binding 960 Tips/Pack; 5 Packs/Case |  |  | 3 Cases
20 | Neptune- 200 μl NX Barrier, Sterile, Low Binding 960 Tips/Pack; 5 Packs/Case |  |  | 2 Cases
21 | Neptune - 1000XT Barrier, Sterile 768 Tips/Pack; 5 Packs/Case |  |  | 3 Cases
22 | 200ul Extra Long Filter Tip. 89mm. PP Rack 10 racks per pack **Airfreight price** | 1252P-801CS | Interlab | 20 boxes
OTHER
23 | Avant - 300 μl XT Barrier, Sterile, Low Binding 960 Tips/Pack; 5 Packs/Case | 2917T-H | AVANT, Pack of 960 Tips, Case of 5 Packs | 1 Box
Category 3- Lab Equipment
24 | Class II A2 Biological Safety Cabinet |  | BIOBASE, Each | 1
UV PCR WORKSTATION
25 | Biobase - PCR Cabinet with LED Display & UV sterilization system | PCR-1000 | BIOBASE, Each | 2
BENCHTOP EQUIPMENT
26 | Digital Vortex Mixer 0-3000rpm touch or continuous with timer orbit dia 4mm max load 0.5kg Supplied with rubber platform 88882119 240V 50Hz IP42 | BAR88882010 | Thermofisher | 2
27 | mySPIN 6 personal microcentrifuge 6 x 1.5/2mL capacity | THR75004061 | Thermofisher | 3
28 | Labnet - MPS 1000 Mini Plate Spinner Centrifuge | C1000 | LABNET, Each | 1
29 | Pico™ 17 Microcentrifuge (ventilated) | THR75002410. | Thermofisher | 2
| Digital dry bath/block heater (US plug = Supplier to check if this is correct for PIC) | 88870004 | Thermofisher | 1pc
| Block for dry bath/block heater | 88870103 | Thermofisher | 1pc
| Analytical Balance, 220g Capacity External calibration, 0.1mg readability, 80mm diameter pan, 4.decimal Place Includes 200g Cali. Weight, | WBA-220 | Interlab | 1
30. a | Bio-Rad - CFX96 Touch System with Consumables; Modular thermal cycler platform, includes C1000 Touch thermal cycler chassis, CFX96 optical reaction module, CFX Maestro software, qbase PLUS software license, cables, reagents, consumables | 1855195 | BIO-RAD, Each | 1
30. b | Installation & Training Includes installation and functional validation of CFX96 Touch by Medica Pacifica PTE Ltd Engineer. Applications Training provided remotely by Bio-Rad Applications Specialist. | ZINTR-GXD | MEDICA & BIO-RAD ENGINEERS | 1
30. c | Annual Preventative Maintenance Cost With Parts & Labour |  | BIO-RAD / MEDICA | 3
FRIDGES AND FREEZERS
31 | Biobase - -25 Deg C Laboratory Freezer 265L; Upper: 2-8 Deg C & Down: -10 to -28 Deg C | BDF-25V265 | BIOBASE, Each | 3
32 | Biobase - -86 Deg C Freezer 158L | BDF-86V158 | BIOBASE, Each | 1
33 | UPS (uninterruptible power source |  | DATEC, | 4
Category 4- Cleaning and Waste
CLEANING
34 | PanReac AppliChem - DNA-ExitusPlus™ IF, 500ML | A7409,0500 | PANREAC APPICHEM, Pack of 500ML | 1
35 | ECP Chemical - Ethanol Denatured 70% 5L | 33078-5L | ECP CHEMICAL, Pack of 5L | 2
36 | Mediscope - Translucent polypropylene bottle with a robust trigger sprayer. Each | BS1000 | MEDISCOPE, EACH | 4
37 | Orchid - Paper Towels (to wipe down surfaces)- ANY SUPPLIER, FOR GENERAL CLEANING |  |  | 10
38 | Tork Premium Extra Soft Guest Hand Towel, Pack of 100- | TORK | Asaleo Care, Pack of 100 | 3
WASTE
39 | 50L Mas Pedal Waste Bin with flip lid (to be lined with autoclave bags), 50L |  |  | 3
40 | 60L Willow Waste Bin (to be lined with autoclave bags), 60L (10*100)
41 | Plastic Bags- - CLEAR BAGS APPROX 40cm x 60cm (10*100) |  |  | Approx 30cm Wide x 40cm High
42 | Thermo Fisher -Bag autoclave biohazard 600 x 900mm 121C 50pcs 70um yellow- | LBS3500/504 | THERMO FISHER, Pack of 50 Pieces | 1
43 | Autoclave Tape - 18mm Roll |  | analyti | 4 rolls
44 | Cable Ties, Pack of 100 |  |  | 1
OTHER
45 | Biobase - Table Top Autoclave Class N Series, 24L | BKM-Z24N | BIOBASE, Each | 1
46 | Medline - Sensicare Silk Nitrile Exam Glove Small (250pcs/box) |  |  | 10
47 | Medline - Sensicare Silk Nitrile Exam Glove Medium (250pcs/box) |  |  | 10
48 | Medline - Sensicare Silk Nitrile Exam Glove Large (250pcs/box) |  |  | 10
49 | Medline - Sensicare Silk Nitrile Exam Glove XL (230pcs/box) |  |  | 10
CHEMICALS AND WATER
50 | Qiagen - Nuclease Free Water, 10x50ML | 129114 | QIAGEN, Pack of 10x50ML | 1
51 | ECP - Ethanol 99.5% AR HDPE 2.5L | 22921-P2500 | ECP CHEMICAL, Pack of 2.5L | 1
Category 6- Other & storage
PERMANENT MARKERS (examples)
52 | Whitcoulls - Staedtler Lumocolor® permanent laundry 319 LM | 319 LM F-9 | WHITCOULLS, Each | 20
53 | Marienfeld - Laboratory Marker, Black | 6130603 | MAREINFELD, EACH | 20
FREEZER/FRIDGE STORAGE
54 | Biologix - Cardboard 2'' Freezer Boxes, ID-Color, Cryobox with 81-well plastic dividers, 5 assorted colors, 5/pack | 90-8281 | BIOLOGIX, Pack of 5 | 25
55 | 80 place, reversible rack, assorted colours. Holds 0.5 / 1.5 / 2.0ml tubes - 80-Well Microtube Rack, Assorted - Packs of 5 | HS29025G | Mediscope | 2pks
56 | 72 Place, 16mmØ One Rack, POLYWIRE, Re-Enforced Nylon, Autoclavable Flat Labeling Area LxWxHmm: 248 x 127 x 70 Suitable for 15ml tubes. | 202111-B, 202111-G, 202111-W, 202111-M | Interlab | 20pcs
57 | Test Tube Half Rack POLYWIRE Blue- Re- Enforced Nylon 30mm, 9 Place. 1/pk - 50ml tube half racks | 201014-B | Interlab | 4pcs
58 | 4X3 Upright Slide Freezer Rack | 4x3 Rack | HEATHROW SCIENTIFIC / BIOBASE, EACH | 1
59 | Air And Sea Freight & Handling Charges Till Port Only |  | AIR & SEA | 1