## Equipment
Lot 1 - Equipment Annex II-A - RFP22-3453
NO | ITEM DESCRIPTIONS | Relevant details e.g how many in 1 pckt | Estimated QTY per year | Waranty duration (if applicable) | Installation description (if applicable) | Training description (if applicable) | Maintenance description (if applicable)
Genetics laboratory - Equipment
1 | Tainless steel wire trays for autoclave (plates), compatible with item 6 |  | 2
2 | Tainless steel wire trays for autoclave (baskets), compatible with item 6 |  | 2
3 | Pipette stands for single channel microliter pipettes |  | 1
4 | Dry Bath Incubator -10°C to +100°C - MK-20 |  | 1
5 | Dry Bath Incubator +5°C to +100°C - MK-10 |  | 1
6 | Horizontal benchtop laboratory autoclave, front-loading, without drying, 22L, programmable. |  | 1
7 | Analytical Weighing Balance. Taille du plateau > 90mm, automatic internal calibration, precision 0.1mg, range 0.2g - 300g |  | 1
8 | Refrigerated benchtop centrifuge, max 15000rpm, temp range -10 to +40°C, |  | 2
9 | Fluorometer with different assay kits for the quantification of nucleic acids or proteins |  | 1
10 | Microvolume UV-Vis Spectrophotometer |  | 2
11 | Nucleic Acid Analyzer |  | 1
12 | Gel Documentation System, auto exposure, long-life dual wavelength transilluminators, high resolution camera |  | 1
13 | 16-well Comb for Use with 10 cm Gel Box, 1.5 mm Thickness | compatible with item 12 | 2
14 | Electrical Leads | compatible with item 12 | 2
15 | Horizontal Gel Boxes | compatible with item 12 | 2
16 | General Purpose Power Supply-230V | compatible with item 12 | 2
17 | 5 x 7 Inch Top PC-420D Stirring Hot Plate with Digital Displays, 230V/50Hz |  | 1
18 | High-speed benchtop homogenizer, fast preparation, simultaneous homogenization of up to 24 samples, 9 interchangeable adapters |  | 1
19 | Pure water system, provide type I, II, and III water |  | 1
20 | Thermal Cycler with 96 well block, flexible programming |  | 2
21 | Portable two-channel pH measuring instrument, measurement modes : pH, mV and temperature,large measured value memory |  | 1
22 | 8-channel electronic pipettor , ergonomic design, highly reproducible |  | 1
23 | Electronic pipettor 1 channel, lightweight and compact, comfortable handling |  | 1
24 | Lab refrigerator , +2° to +16°C, 304L, equipped with wheels, visual and sound alarm, 72h battery operation |  | 1
25 | Under-bench freezer, 101L, -18° to -25°C, 4 drawers |  | 3
26 | Under-bench refrigerator, 141L, 2° to 15°C, 3 shelves |  | 1
27 | Vortex thermo-shaker |  | 1
28 | Fume hood for protection from chemicals, vapors and aerosol. Overall dimension [mm]: WxDxH: 595x760x1120, exhaust flow rate (m3/h): 300, single fan, negative pressure |  | 1
29 | Fume hood PCR with open UV lamp: 25 W bactericidal, 254 nm, ozone free; panels: glass with UV-protective film |  | 1
30 | Microwave, 20L, 26 x 45 x 31cm |  | 1
31 | Flake ice maker with 20kg ice storage tank, 24h max output 113kg, separate On/Off switch |  | 1
32 | Bottle-top dispenser/ dispenser 0.5 to 5 mL, autoclavable, ISO 8655 standards, increments 0.1mL |  | 1
Histology and otoliths laboratory - Equipment
33 | Microscope Slide distributor, 91 slides. For microscope slides with dimensions 75 x 25 mm and 76 x 26 mm. |  | 1
34 | Mineral Sampling Device for high resolution milling to recover sample powder for chemical and isotopic analysis. |  | 1
35 | Low speed sectioning tool capable of cutting any material including brittle or ductile metals, composites, cements, laminates, plastics, electronic devices and biomaterials. |  | 1
36 | Compound microscope, N PLAN achromatic objective series with magnifications from 5x to 100x, a field of view of 22 mm, a flattened image field, and large working distances |  | 1
37 | Compound microscope integrated camera | Compatible with item 36 | 1
38 | Automatic slides stainer designed for histology and coverslipper. Flexible programming |  | 1
39 | Semiautomatic microtome cryostat with dual compressor, UVC lamp decontamination and automatic defrosting |  | 1
40 | Manual Rotary Microtome, suitable for all types of standard biocassettes, cutting range from 0,5 to 60 microms. |  | 1
41 | Spin vacuum tissue processor with automatic rotating "carousel", with touchscreen for paraffin embedding and dehydration |  | 1
42 | On-demand cassette printer with 6 cassette hoppers and a total capacity of 240 cassettes |  | 1
43 | Automatic Linear Tissue Processor, 14 stations, 10 for the reagents and 4 paraffin, can process 150 samples simultaneously |  | 1
Shared laboratory - Equipment
44 | Lab standing rest, height 510-780mm, glides, foot ring |  | 3
45 | Bench for analytical balance ( with anti-vibration surface), 640 x 750 x h 770 mm |  | 1
46 | Bench, 600mm depth |  | 1
47 | Bench with backsplach, 600mm depth |  | 1
48 | Bench, 750mm depth |  | 1
49 | Sink | compatible with item 46, 47 and 48 | 1
50 | Stainless steel bench, 750mm with central sink |  | 1
51 | Stainless steel bench sink | compatible with item 55 | 1
52 | Tap | compatible with item 49 and 51
53 | Under-bench storage (cabinet, drawers) | compatible with item 46, 47 and 48
54 | Laboratory freeze-dryer with wide range of configurations to adapt it optimally to our specific needs. |  | 1
55 | Dehydrator, 5 shelves, 35L, lightweight, shatterproof and stackable. |  | 1
56 | Safety shower, foot and hand operation, eyewash station |  | 1
57 | Serving trolley, 2 shelves - charge per shelve 80kg - size: 900x600x950mm |  | 1
58 | Desk mount LED lab magnifier lamp |  | 2
59 | Chemicals cabinet, 180L storage capacity, compartments for acids, bases and inflammables |  | 1
60 | Laboratory freezer -40 to -80°C, 830L capacity, sound alarm, Energy Star certification |  | 1
61 | Ultrasonic Cleaning Bath, 0.8L capacity |  | 1
62 | Gravity Convection Oven, 65L, 50° to 250°C |  | 1
63 | Vacuum Desiccator with gauge, 20L |  | 1
64 | Dissection pack (tweezers, scissors, blade, etc) |  | 1
65 | Chainman belt + cotton thread |  | 1
66 | Chain man cotton thread |  | 3
67 | Bag Sealer |  | 1
68 | Refill roll - film (10 m x 28.5 cm) for bag sealer | compatible with item 66 | 2
Taxonomy laboratory - Equipment
69 | Stereo microscope, 6:1-zoom range, with a continuous zoom from 6.3x – 40x including engageable click stops, LED ring light |  | 1
70 | Stereo microscope camera | Compatible with item 68 | 1